
THE WORDEN


PROSPECTOR & *MASTER





MINIMUM RECOMMENDED


OPERATING RANGE


Specify to nearest 100 mgal* plus


latitude and elevation indication 4000 mgal





MINIMUM TOTAL OPERATING RANGE (RESET)


Specify nearest 100 mgal* 5200 mgal








SMALL DIAL RANGE 


2100 dial divisions X small dial constant





SMALL DIAL CONSTANT


Standard 0.08 to 0.11


mgal/dial division (from 0.05-1.00 also available)





SMALL DIAL CALIBRATION LINEARITY over full range 1 part in 1000





SMALL DIAL READING RESOLUTION 0.1 of small dial division





SMALL DIAL MECHANISM self counting read from top


Directly coupled (no gears for backlash) with screw which contacts quartz measuring spring





SIZE:


Diameter 177.8 mm (7 in.)


Height 355.6 mm (14 in.)





WEIGHT


Net 3.402 kg (7 ½ lbs)


Include carrying case 7.144 kg (15 ¾ lbs)





SHIPPING INFORMATION – including standard accessories:


No. boxes three


Size of boxes 0.052 cubic m (1.8 cubic ft)


Total gross weight 22.68 kg (50 lbs)


Total net weight 20.412 kg (45 lbs)





*Price of gravity meter is determined by the range and dial constant specified. 





The WORDEN  MASTER has the same specs as above and includes an * EXTERNAL TEMPERATURE CONTROL.























